## Slide 2: Integrated PL - Origins
Initially, we were working on a setup that could do optical degradation of devices
  Would allow single carrier currents under PL excitation to show sensitivity to electron or hole current
Laser
Laser Signal
Device Signal
ND Filter
“Beam Splitter”
Device

## Slide 3
Laser
Laser Signal
Device Signal
ND Filter
“Beam Splitter”
Device
a.
c.
b.
d.

## Slide 4: Integrated PL – Gen 1 Development
Microcontroller controls laser and measures power
Source Meter measures device power and sources current
Control software synchronizes both devices and records data
Optics housed in economical dark enclosure

## Slide 5: Box Setups
Detection
Device
Source/Measure
NI VISA
Python
Hardware
GUI
Software
Laser
Laser Detector
Serial
Arduino
Detection
Device
Source
NI VISA
Python
GUI
Laser
Laser Detector
Serial
Arduino
Measure
Hardware
Software
Version 1 & 2
Version 3